Albuquerque Environmental Health Department (EHD)

Air Quality Division (AQD)

Ambient Air Monitoring Section

2008 Annual Network Review for Ambient Air Monitoring

Under 40 CFR, Part 58, Subpart B, The City of Albuquerque Air Quality Division (AQD) is required to submit an annual monitoring network review to the Environmental Protection Agency (EPA) regional office in Dallas, Texas. Our objective, when preparing the report, is to optimally apply limited resources to best protect public health.

The network plan describes the framework of the local air quality surveillance system, presents monitoring results over the past three years, provides comparisons to national standards, and discusses future plans. The annual monitoring network plan must be made available for public inspection for at least 30 days prior to submission to EPA.

The following document represents the current network plan and proposed changes to the AQD Air monitoring network for 2008. These proposed changes incorporate new rules requirements from CFR 40 parts 53 & 58 that were published October 17, 2006 and became effective December 18, 2006, as well as the new Ozone NAAQS.  Future NCore implications are also discussed under each section. The current lack of NCore funding is a serious concern.

This document represents the commitment of the AQD to effectively protect the health of the citizens of Albuquerque-Bernalillo County through ambient air monitoring, by using the best affordable technology, and by communicating the data collected as quickly and accurately as possible.  However, elimination of the CAA 103 grant and reductions in CAA 105 grant funding force us to reluctantly propose significant reductions in the coming year.  We will continue to meet our minimum requirements for each criteria pollutant.  The proposed changes will be discussed in each section and then summarized in tables at the end of this document.

Population Statistics

Albuquerque/Bernalillo County, including Rio Rancho and Los Lunas is the State’s largest Metropolitan Statistical Area (MSA).  According to 2006 U.S. Census Bureau estimates the population of the metropolitan statistical area (MSA) which includes the adjacent counties of Sandoval, Valencia, and Torrance is approximately 816,811 (41% of the State) and is rapidly growing.  As the regional center for employment, advanced education, retail commerce, and medical treatment, Albuquerque experiences extensive commuter traffic.  The junction of major Interstate 25 (north/south) and Interstate 40 (east/west), adds significant heavy transport traffic between the port of Los Angeles and the East Coast, and between Denver and the US-Mexico Border.

The map in Figure 1 shows the physical location of all current monitoring sites currently operated by the Air Quality Division.  Three sites (2ZH - North Valley, 2ZV - South Valley, and 2ZF - Double Eagle) are in Bernalillo County.  All other sites are within the city limits of Albuquerque.  Site designation corresponds to Table 1, Column 2, which lists the ambient air monitoring sites and the monitoring equipment operated at each site.

Table 1, Column 1 is the “AQS Site ID#,” a unique identification number assigned to each monitoring site in the network.  The AQS (Air Quality System) is a national air monitoring database maintained by the EPA. Data collected from monitoring sites are input into the AQS database and made available to the public within 90 days following the end of each calendar quarter as required in the new monitoring regulations. <http://www.epa.gov/ttn/airs/aqsdatamart/access.htm>

Column 2 gives the local site designation, name, and location.  Site Longitude and latitude are in columns 3 and 4.  Columns 5 through 9 list the monitors at each site and their associated parameters.  Site photographs accompany the hard-copy version of this report on CD.  During the public review period monitoring site photographs can be downloaded from the City of Albuquerque – Air Quality Division website http://www.cabq.gov/airquality/

The 2007 Network Review contained errors that incorrectly identified some monitor types.  These are highlighted in Table 1.  The first step of this review proposes corrections to make the table consistent with the AQS data codes for each instrument.  These changes will also be discussed in the appropriate sections below.

Table 1A, (in the identical format) presumes that the Table 1 corrections will be approved, and proposes additional changes to the monitoring configuration.  Table 1B indicates the final network configuration if all changes are approved.

Future – For funding reasons, the AQD proposes to discontinue Airs site 35-001-1014 (local designation “Corrales, 2ZL”).  The site was established during a time of major commercial development which is now complete, reducing the amount of exposed surface area.  While still subject to wind-blown PM from development occurring further north and west, monitoring for the area will depend on data from AIRS site 35-001-1013.  PM and Ozone data are similar to other sites in the network so this proposed change will not have a detrimental effect

In Figure 1 indicates this closure with an “X” over the site.  In Table 1A, proposed monitoring reductions are in red and proposed monitoring additions are in blue.  A red strikeout indicates complete elimination.

In addition, if this report is approved, some individual monitors will be discontinued and/or relocated.  These proposed changes are intended to maximize the amount, quality, and significance of data produced within the available funding constraints.

Figure 1: Albuquerque Ambient Air Quality Monitoring Network

Table 1  Albuquerque 2007 Ambient Air Monitoring Network (contained some errors)

| AQS Site ID# | Address/ Location | Longitude | Latitude | Pollutants Measured | Monitor Type | Sampling Method | Analysis | Operating Schedule | Monitoring Objective | Spatial Scale | NAAQS Comparable | MSA |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 35-001-0019 | 2ZE Uptown-Zuni 2421 Mesilla Ave. NE | -106.564 | 35.10728 | O3 | SLAMS | 44201-1 | UV photo- metric. | continuous | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | CO | SLAMS | 42101-1 | Non-dispersive IR | continuous seasonal | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | PM10 | SLAMS | 81102-3 | TEOM | continuous | Population Exposure | Neighborhood | No | Abq. |
|  |  |  |  | PM2.5 | SLAMS | 88502-3 | TEOM/ FDMS | continuous | Population Exposure | Neighborhood | No | Abq. |
| 35-001-1012 | 2ZF Double Eagle Elementary 8901 Lowel NE | -106.508 | 35.1852 | O3 | SLAMS | 44201-1 | UV photo- metric. | continuous | Highest Concentration | Urban | Yes | Abq. |
| 35-001-1013 | 2ZH North Valley 9819a Second Street NW | -106.614 | 35.19324 | O3 | SLAMS | 44201-1 | UV photo- metric. | continuous | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | PM10 | SLAMS | 81102-3 | TEOM | continuous | Population Exposure | Neighborhood | No | Abq. |
|  |  |  |  | PM2.5 | SLAMS | 88502-3 | TEOM/ FDMS | continuous | Population Exposure | Neighborhood | No | Abq. |
| 35-001-1014 | 2ZL Corrales 10155 Coors Road NW | 106.649 | 35.2022 | O3 | SLAMS | 44201-1 | UV photo- metric. | continuous | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | CO | SLAMS | 42101-1 | Non-dispersive IR | continuous seasonal | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | PM10 | SLAMS | 81102-1 | Gravi-metric | Daily 1/1 | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | PM10 collocated | SLAMS | 81102-2 | Gravi-metric | Daily 1/6 | Population Exposure | Neighborhood | Yes | Abq. |
| 35-001-0023- NCORE | 2ZM Del Norte 4700a San Mateo NE | 106.586 | 35.13426 | O3 | SLAMS | 44201-1 | UV photo- metric. | continuous | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | CO | SLAMS | 42101-1 | Non-dispersive IR | continuous seasonal | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | NO2 | SLAMS | 42602-1 | Chemluminescence | continuous | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | PM10 | SLAMS | 81102-1 | Gravi-metric | Daily 1/6 | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | PM2.5 | SLAMS | 88101-1 | Sequen-tial | Daily 1/1 | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | PM2.5 collocated | SLAMS | 88101-2 | Sequen-tial | Daily 1/6 | Population Exposure | Neighborhood/ urban | Yes | Abq. |
|  |  |  |  | Speciation | SLAMS | 68103 | (multiple) | Daily 1/6 | Special Study | NA | NA | Abq. |
|  |  |  |  | Visibility | SLAMS | 63101 | 011 | continuous | Special Study | NA | NA | Abq. |
|  |  |  |  | EC/OC | SLAMS | 88313 | 866 | continuous | Special Study | NA | NA | Abq. |

Table 1 - Continued

| AQS Site ID # | Address/ Location | Longitude | Latitude | Pollutants Measured | Monitor Type | Sampling Method | Analysis | Operating Schedule | Monitoring Objective | Spatial Scale | NAAQS Comparable | MSA |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 35-001-0024 | 2ZN SE Heights 6000 Anderson Avenue SE | 106.579 | 35.0631 | O3 | SLAMS | 44201-1 | UV photo- metric. | continuous | Population Exposure | Neighbor hood | Yes | Abq. |
|  |  |  |  | CO | SLAMS | 42101-1 | Non-dispersive IR | continuous seasonal | Population Exposure | Neighbor hood | Yes | Abq. |
|  |  |  |  | NO2 | SLAMS | 42602-1 | Chemluminescence | continuous | Population Exposure | Neighbor hood | Yes | Abq. |
|  |  |  |  | PM2.5 | SLAMS | 88101-1 | Sequen- tial | Daily 1/1 | Population Exposure | Neighbor hood | Yes | Abq. |
| 35-001-0026 | 2ZS Singer 3700 Singer NE | 106.605 | 35.1443 | PM10 | SLAMS | 81102-3 | TEOM | continuous | Highest Concentration | Neighbor hood/ Source-specific | No | Abq. |
|  |  |  |  | PM10 | SLAMS | 81102-1 | Gravi- metric | Daily 1/1 | Highest Concentration | Neighbor hood/ Source-specific | Yes | Abq. |
|  |  |  |  | PM10 collocated | SLAMS | 81102-2 | Gravi- metric | Daily 1/6 | Highest Concentration | Neighbor hood/ Source-specific | Yes | Abq. |
| 35-001-0027 | 2ZT Taylor Ranch 5100 Montano Blvd NW | 106.697 | 35.1539 | O3 | SLAMS | 44201-1 | UV photo- metric. | continuous | Population Exposure | Neighbor hood | Yes | Abq. |
|  |  |  |  | PM2.5 | Special Purpose | 88502-3 | TEOM/ FDMS | continuous | Population Exposure | Neighbor hood | No | Abq. |
| 35-001-0028 | 2ZU San Pedro 2200 San Pedro NE | 106.577 | 35.10263 | CO | SLAMS | 42101-1 | Non-dispersive IR | continuous seasonal | Highest Concentration | Microscale | Yes | Abq. |
|  |  |  |  | PM10 | SLAMS | 81102-1 | Gravi- metric | Daily 1/6 | Population Exposure | Neighbor hood | Yes | Abq. |
| 35-001-0029 | 2ZV South Valley 201 Prosperity SW | 106.657 | 35.01708 | O3 | SLAMS | 44201-1 | UV photo- metric. | continuous | Population Exposure | Regional Scale | Yes | Abq. |
|  |  |  |  | CO | SLAMS | 42101-1 | Non-dispersive IR | continuous seasonal | Population Exposure | Regional Scale | Yes | Abq. |
|  |  |  |  | PM10 | SLAMS | 81102-3 | TEOM | continuous | Regional Transport | Other | No | Abq. |
|  |  |  |  | PM2.5 | SLAMS | 88502-3 | TEOM/ FDMS | continuous | Other | Other | No | Abq. |
|  |  |  |  | EC/OC | SLAMS | 88313 | 866 | continuous | Population Exposure | Neighbor hood | NA | Abq. |

Table 1A  Proposed 2008 Changes to the Albuquerque Ambient Air Monitoring Network

| AQS Site ID# | Address/ Location | Longitude | Latitude | Pollutants Measured | Monitor Type | Sampling Method | Analysis | Operating Schedule | Monitoring Objective | Spatial Scale | NAAQS Comparable | MSA |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 35-001-0019 | 2ZE Uptown-Zuni 2421 Mesilla Ave. NE | -106.564 | 35.10728 | O3 | SLAMS | 44201-1 | UV photo- metric. | continuous | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | CO | SLAMS | 42101-1 | IR (Non-dispersive) | continuous seasonal | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | PM10 | Special Purpose | 81102-3 | TEOM/ FDMS | continuous | Population Exposure | Neighborhood | No | Abq. |
|  |  |  |  | PM2.5 | Special Purpose | 88502-3 | TEOM/ FDMS | continuous | Population Exposure | Neighborhood | No | Abq. |
| 35-001-1012 | 2ZF Double Eagle Elementary 8901 Lowel NE | -106.508 | 35.1852 | O3 | SLAMS | 44201-1 | UV photo- metric. | continuous | Highest Concentration | Urban | Yes | Abq. |
|  |  |  |  | PM2.5 | Special Purpose | 81502-3 | TEOM/ FDMS | continuous | Population Exposure | Neighborhood | No | Abq. |
| 35-001-1013 | 2ZH North Valley 9819a Second Street NW | -106.614 | 35.19324 | O3 | SLAMS | 44201-1 | UV photo- metric. | continuous | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | PM10 | SLAMS | 81102-3 | TEOM | continuous | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | PM2.5 | Special Purpose | 88502-3 | TEOM/ FDMS | continuous | Population Exposure | Neighborhood | No | Abq. |
|  |  |  |  | CO | SLAMS | 42101-1 | IR (Non-dispersive) | continuous seasonal | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | Visibility | Special Purpose | 63101 | 011 | continuous | Special Study | NA | NA | Abq. |
|  |  |  |  | Total Carbon | Special Purpose | 88313 | 866 | continuous | Special Study | NA | NA | Abq. |
| 35-001-1014 | Propose to discontinue 2ZL Corrales 10155 Coors Road NW | -106.649 | 35.2022 | O3 | SLAMS | 44201-1 | UV | continuous | Population Ex | Nbrhd | Yes | Abq. |
|  |  |  |  | CO | SLAMS | 42101-1 | IR | continuous seasonal | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | PM10 | SLAMS | 81102-1 | Gravi-metric | Daily 1/1 | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | PM10 collocated | SLAMS | 81102-2 | Gravi-metric | Daily 1/6 | Population Exposure | Neighborhood | Yes | Abq. |
| 35-001-0023- NCore | 2ZM Del Norte 4700a San Mateo NE | -106.586 | 35.13426 | O3 | SLAMS | 44201-1 | UV photo- metric. | continuous | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | CO | SLAMS | 42101-1 | Non-dispersive IR | continuous | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | NO2 | SLAMS | 42602-1 | Chemluminescence | continuous | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | PM10 | SLAMS | 81102-1 | Gravi-metric | Daily 1/6 | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | PM2.5 | SLAMS | 88101-1 | Sequen-tial | Daily 1/3 | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | PM2.5 collocated | SLAMS | 88101-2 | Sequen-tial | Daily 1/6 | Population Exposure | Neighborhood/ urban | Yes | Abq. |
|  |  |  |  | Speciation | Sp Purpose | 68103 | (multiple) | Daily 1/6 | Special Study | NA | NA | Abq. |
|  |  |  |  | Visibility | Sp Purpose | 63101 | 011 | continuous | Special Study | NA | NA | Abq. |
|  |  |  |  | EC/OC | Sp Purpose | 88313 | 866 | continuous | Special Study | NA | NA | Abq. |

Table 1A - Continued

| AQS Site ID # | Address/ Location | Longitude | Latitude | Pollutants Measured | Monitor Type | Sampling Method | Analysis | Operating Schedule | Monitoring Objective | Spatial Scale | NAAQS Comparable | MSA |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 35-001-0024 | 2ZN SE Heights 6000 Anderson Avenue SE | -106.579 | 35.0631 | O3 | SLAMS | 44201-1 | UV photo- metric. | continuous | Population Exposure | Neighbor hood | Yes | Abq. |
|  |  |  |  | CO | SLAMS | 42101-1 | IR | continuous seasonal | Population Exposure | Neighbor hood | Yes | Abq. |
|  |  |  |  | NO2 | SLAMS | 42602-1 | Chemluminescence | continuous | Population Exposure | Neighbor hood | Yes | Abq. |
|  |  |  |  | PM2.5 | SLAMS | 88101-1 | Sequen- tial | Daily 1/3 | Population Exposure | Neighbor hood | Yes | Abq. |
| 35-001-0026 | 2ZS Singer 3700 Singer NE | -106.605 | 35.1443 | PM10 | SLAMS | 81102-3 | TEOM | continuous | Highest Concentration | Neighbor hood/ Source-specific | Yes | Abq. |
|  |  |  |  | PM10 | SLAMS | 81102-1 | Gravi- metric | Daily 1/1 | Highest Concentration | Neighbor hood/ Source-specific | Yes | Abq. |
|  |  |  |  | PM10 collocated | SLAMS | 81102-2 | Gravi- metric | Daily 1/6 | Highest Concentration | Neighbor hood/ Source-specific | Yes | Abq. |
| 35-001-0027 | 2ZT Taylor Ranch 5100 Montano Blvd NW | -106.697 | 35.1539 | O3 | SLAMS | 44201-1 | UV photo- metric. | continuous | Population Exposure | Neighbor hood | Yes | Abq. |
|  |  |  |  | PM2.5 | Special Purpose | 88502-3 | TEOM/ FDMS | continuous | Population Exposure | Neighbor hood | No | Abq. |
| 35-001-0028 | 2ZU San Pedro 2200 San Pedro NE | -106.577 | 35.10263 | CO | SLAMS | 42101-1 | Non-dispersive IR | continuous | Highest Concentration | Microscale | Yes | Abq. |
|  |  |  |  | PM10 | SLAMS | 81102-1 | Gravi- metric | Daily 1/6 | Population Exposure | Neighbor hood | Yes | Abq. |
| 35-001-0029 | 2ZV South Valley 201 Prosperity SW | -106.657 | 35.01708 | O3 | SLAMS | 44201-1 | UV photo- metric. | continuous | Population Exposure | Regional Scale | Yes | Abq. |
|  |  |  |  | CO | SLAMS | 42101-1 | Non-dispersive IR | continuous seasonal | Population Exposure | Regional Scale | Yes | Abq. |
|  |  |  |  | PM10 | Special Purpose | 81102-3 | TEOM | continuous | Other | Other | No | Abq. |
|  |  |  |  | PM2.5 | Special Purpose | 88502-3 | TEOM/ FDMS | continuous | Other | Other | No | Abq. |
|  |  |  |  | Visibility | Sp Purpose | 63101 | 011 | continuous | Special Study | NA | NA | Abq. |
|  |  |  |  | EC/OC | Sp Purpose | 88313 | 866 | continuous | Special Study | Other | NA | Abq. |
| TBD | 2ZW Westside 11850 Sunset Gardens SW | -106.761 | 35.0641 | O3 | TBD | 44201-1 | UV photo- metric. | continuous | Special Study | Neighbor hood | Yes | Abq. |
|  |  |  |  | PM10 | TBD | 88101-3 | TEOM | continuous | Special Study | Neighbor hood | Yes | Abq. |

Table 1B  Resultant Albuquerque Ambient Air Monitoring Network (if proposed changes are approved.)

| AQS Site ID# | Address/ Location | Longitude | Latitude | Pollutants Measured | Monitor Type | Sampling Method | Analysis | Operating Schedule | Monitoring Objective | Spatial Scale | NAAQS Comparable | MSA |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 35-001-0019 | 2ZE Uptown-Zuni 2421 Mesilla Ave. NE | -106.564 | 35.10728 | CO | SLAMS | 42101-1 | IR (Non-dispersive) | continuous seasonal | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | PM2.5 | Special Purpose | 88502-3 | TEOM/ FDMS | continuous | Population Exposure | Neighborhood | No | Abq. |
| 35-001-1012 | 2ZF Double Eagle Elementary 8901 Lowel NE | -106.508 | 35.1852 | O3 | SLAMS | 44201-1 | UV photo- metric. | continuous | Highest Concentration | Urban | Yes | Abq. |
|  |  |  |  | PM2.5 | Special Purpose | 88502-3 | TEOM/ FDMS | continuous | Population Exposure | Neighborhood | Yes | Abq. |
| 35-001-1013 | 2ZH North Valley 9819a Second Street NW | -106.614 | 35.19324 | O3 | SLAMS | 44201-1 | UV photo- metric. | continuous | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | PM10 | SLAMS | 81102-3 | TEOM | continuous | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | PM2.5 | Special Purpose | 88502-3 | TEOM/ FDMS | continuous | Population Exposure | Neighborhood | No | Abq. |
|  |  |  |  | CO | SLAMS | 42101-1 | IR (Non-dispersive) | continuous seasonal | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | Visibility | Special Purpose | 63101 | 011 | continuous | Special Study | NA | NA | Abq. |
|  |  |  |  | Total Carbon | Special Purpose | 88313 | 866 | continuous | Special Study | NA | NA | Abq. |
| 35-001-0023- NCore | 2ZM Del Norte 4700a San Mateo NE | -106.586 | 35.13426 | O3 | SLAMS | 44201-1 | UV photo- metric. | continuous | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | CO | SLAMS | 42101-1 | Non-dispersive IR | continuous | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | NO2 | SLAMS | 42602-1 | Chemluminescence | continuous | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | PM10 | SLAMS | 81102-1 | Gravi-metric | Daily 1/6 | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | PM2.5 | SLAMS | 88101-1 | Sequen-tial | Daily 1/3 | Population Exposure | Neighborhood | Yes | Abq. |
|  |  |  |  | PM2.5 collocated | SLAMS | 88101-2 | Sequen-tial | Daily 1/6 | Population Exposure | Neighborhood/ urban | Yes | Abq. |
|  |  |  |  | Speciation | Special Purpose | 68103 | (multiple) | Daily 1/6 | Special Study | NA | NA | Abq. |

Table 1B - Continued

| AQS Site ID # | Address/ Location | Longitude | Latitude | Pollutants Measured | Monitor Type | Sampling Method | Analysis | Operating Schedule | Monitoring Objective | Spatial Scale | NAAQS Comparable | MSA |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 35-001-0024 | 2ZN SE Heights 6000 Anderson Avenue SE | -106.579 | 35.0631 | O3 | SLAMS | 44201-1 | UV photo- metric. | continuous | Population Exposure | Neighbor hood | Yes | Abq. |
|  |  |  |  | PM2.5 | SLAMS | 88101-3 | Sequen- tial | Daily 1/3 | Population Exposure | Neighbor hood | Yes | Abq. |
| 35-001-0026 | 2ZS Singer 3700 Singer NE | -106.605 | 35.1443 | PM10 | SLAMS | 81102-3 | TEOM | continuous | Highest Concentration | Neighbor hood/ Source-specific | Yes | Abq. |
|  |  |  |  | PM10 | SLAMS | 81102-1 | Gravi- metric | Daily 1/1 | Highest Concentration | Neighbor hood/ Source-specific | Yes | Abq. |
|  |  |  |  | PM10 collocated | SLAMS | 81102-2 | Gravi- metric | Daily 1/6 | Highest Concentration | Neighbor hood/ Source-specific | Yes | Abq. |
| 35-001-0027 | 2ZT Taylor Ranch 5100 Montano Blvd NW | -106.697 | 35.1539 | O3 | SLAMS | 44201-1 | UV photo- metric. | continuous | Population Exposure | Neighbor hood | Yes | Abq. |
|  |  |  |  | PM2.5 | Special Purpose | 88502-3 | TEOM/ FDMS | continuous | Population Exposure | Neighbor hood | No | Abq. |
| 35-001-0028 | 2ZU San Pedro 2200 San Pedro NE | -106.577 | 35.10263 | CO | SLAMS | 42101-1 | Non-dispersive IR | continuous | Highest Concentration | Microscale | Yes | Abq. |
| 35-001-0029 | 2ZV South Valley 201 Prosperity SW | -106.657 | 35.01708 | O3 | SLAMS | 44201-1 | UV photo- metric. | continuous | Population Exposure | Regional Scale | Yes | Abq. |
|  |  |  |  | CO | SLAMS | 42101-1 | Non-dispersive IR | continuous seasonal | Population Exposure | Regional Scale | Yes | Abq. |
|  |  |  |  | PM10 | *Special Purpose | 81102-3 | TEOM | continuous | Other | Other | No | Abq. |
|  |  |  |  | PM2.5 | *Special Purpose | 88502-3 | TEOM/ FDMS | continuous | Other | Other | No | Abq. |
| TBD | 2ZW Westside 11850 Sunset Gardens SW | -106.761 | 35.0641 | O3 | TBD | 44201-1 | UV photo- metric. | continuous | Special Study | Neighbor hood | Yes | Abq. |
|  |  |  |  | PM10 | TBD | 88101-3 | TEOM | continuous | Special Study | Neighbor hood | Yes | Abq. |

* Special Purpose designation will continue until PM siting criteria are met.

Ground Level Ozone (O3)

Based on population, Table D-2 of Appendix D to Part 58, 40 CFR specifies a minimum of two (2) SLAMS (State and Local Air Monitoring Stations) ozone monitors.

Current – Currently the AQD exceeds the minimum requirements with eight (8) ozone monitors, all categorized as SLAMS.

The MSA experiences high levels of Ozone during the summer and with the newly lowered NAAQS, non-attainment is a serious consideration.  Our first declaration in 2009 will probably not show exceedence of the standard but in 2010 the question is open.

The lack of large industrial sites in Albuquerque suggests that the aforementioned mobile source traffic is the source of Ozone precursors.  We also suspect that Ozone transport is producing a very elevated “floor” under the locally produced Ozone.  Our high elevation above sea level means thinner air.  Ozone chemistry may vary with lower atmospheric pressure.  Extremely low-humidity creates clear skies that filter out very little UV from sunlight.  Elevations within the city vary from 4900 feet to over 6500 feet, and the highest ozone levels tend to occur at our higher monitoring sites.  This could result from elevation related affects or from terrain (air mass trapped against the Sandia Mountain).

Future – Unfortunately, all of the ideas in the previous paragraph are conjecture.  To produce effective reduction strategies (should non-attainment occur), AQD needs solid data that characterizes the problem.  As a non-industrial city, our findings about “transport” could also be significant to other parts of the region.  The AQD would very much like to acquire equipment to monitor VOCs at various locations, times of day, weather conditions, and seasons.  More NOx monitors would also be useful.  (But as noted in the NOx section below, an existing monitor will actually be discontinued.)

The AQD proposes to discontinue two of the current eight Ozone monitors, preserving locations that are producing the highest readings.

We propose to relocate one monitor near the AQD building on the West side of Albuquerque.  (Local designation 2ZW)  Though this site is far from any potential sources (traffic) and is predominantly upwind of the city in summer months (see Figure 2), in trial runs the maximum Ozone levels at this site higher were larger than our previous high-site.  Because this suggests “Ozone transport” we intend to operate the other discontinued ozone monitor at a far west location during the 2008 Ozone season.  Both relocated monitors are for special study.

| Winter | Summer |
| --- | --- |

Figure 2:  Seasonal Wind Roses for Albuquerque

PM2.5

According to Table D-5 of Appendix D to Part 58, 40 CFR two SLAMS PM2.5 monitors are required in Albuquerque.

Current – AQD operates six PM2.5 monitoring sites in Albuquerque-Bernalillo County.  (Table 2)  Of seven (7) total monitors, five (5) were identified as SLAMS in 2007.

For two continuous PM2.5 monitors, North Valley (AIRS 35-001-1013), and the one at Uptown Zuni Park (AIRS 35-001-0019), the SLAMS identification was incorrect and does not correspond with the AQS designation.  (See Figure 1)  The PM2.5 TEOM is not an FEM and is not comparable to the NAAQS.  The AQD proposes to correct the monitor designations at both sites to “Special Purpose.” (See Figure 1A)

Two sites (35-001-0023 and 35-001-0024) operate Partisol 2025 sequential samplers with 2.5 micron inlet cutoff to record 24-hour averages PM2.5.  These samplers are Federal Reference Methods (FRM) and are comparable to the NAAQS.  Both sites operate on a 1/1 (every day) schedule and the first site (35-001-0023) has a collocated sampler that operates every sixth day (1/6).

Four additional sites monitor PM2.5 continuously using a 2.5 micron inlet TEOM in series with a FDMS.  The FDMS provides separate measurements of solid and volatile PM2.5 which helps in understanding the sources of Ozone precursors.  Because the TEOM is not a Federal Equivalent Method (FEM) for PM2.5, the data from these monitors are used for the Air Quality Index (AQI) but are not comparable to the NAAQS.

The continuous monitors in Table 2 and 3 are used for daily Air Quality Index (AQI) reporting. The monitors at these locations report hourly averages that are sent to EPA’s AIRNOW web page for real-time Air Quality particulate mapping.

Future – Site 35-001-0029 houses continuous PM10 and PM2.5 monitors, but it does not meet siting criteria for PM monitoring. (See http://www.gpoaccess.gov/cfr/index.html)  In the past year, paving of a large commercial lot adjacent to the monitoring site removed a large hurdle, putting siting criteria within reach.  Bernalillo County is working on an area upgrade and changes to property use that will make the data from both PM monitors more useful.  The PM10 TEOM is a FEM and will be comparable to the NAAQS but the PM2.5 TEOM is not an FEM and will still not be comparable.

Due to decreased funding, the AQD proposes to change the operating schedule of the Partisol 2025 sequential samplers from every day to every third day.  We will regret the loss of daily FRM data, but the reduction will lower filter, lab and operating costs.  With EPA approval, this change will be made in October, though there is a question about whether AIRS 30-001-0023 can operate 1/3 once it becomes an active NCore site.

The AQD has ordered a Thermo 1405 dichotamous sampler that will be installed at Del Norte (AIRS 35-001-0023), the designated NCore site.  The unit is in the certification process to become an FEM but the Manufacturer’s schedule has slipped several times.  The 1405 has PM10 and PM2.5 inlets on dual channels and an FDMS that will alternately serve both channels.  The PM10 side will operate in parallel with the existing GMW 24-hour filter-based unit (FRM) but will provide continuous data which is new to Del Norte.  This instrument should meet the NCore requirement for monitoring PM10-2.5.The start date is dependent upon delivery but anticipated operation is early 2009.

The PM10 continuous monitor from AIRS 35-001-0019 will be converted to measure PM2.5 and will be relocated to AIRS 35-001-1012 where it will continue to be Special Purpose.

Table 2:  AQD PM2.5 Monitoring Sites

| PM2.5 FRM Sites | Current Sampling schedule | Proposed Sampling Schedule | 2005 Daily 98th % | 2006 Daily 98th % | 2007 Daily 98th % | Design Value (% Daily NAAQS) | 2005 Annual Arithmetic Mean | 2006 Annual Arithmetic Mean | 2007 Annual Arithmetic Mean | Design Value (% Annual NAAQS) | Co-located with continuous PM2.5 Sample Yes or Nor |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Del Norte 0023 | 1/1 | 1/3 | 19 | 18 | 21 | 51% | 7 | 7.6 | 6.5 | 46% | No |
| Del Norte 0023 co-locate | 1/6 | 1/6 | 21 | 13 | 121? | 51% | 7 | 6.9 | 5.8 | 47% | No |
| SE Heights 0024 | 1/1 | 1/3 | 14 | 14 | 21 | 50% | 6.19 | 6.5 | 6.4 | 47% | No |
| Uptown-Zuni 0019 | Continuous | Continuous | 22 | 18 | 30 | NC | 7.1 | 7.8 | 8.5 | NC |  |
| Double Eagle 1012 | New | Continuous |  |  |  | NC |  |  |  | NC |  |
| North Valley 1013 | Continuous | Continuous | 20 | 26 | 30 | NC | 8.6 | 9.6 | 11.9 | NC |  |
| Taylor Ranch 0027 | Continuous | Continuous | 14 | 20 | 18 | NC | 5.1 | 7.6 | 6.7 | NC |  |
| *South Valley 0029 | Continuous | Continuous | 30 | 27 | 39 | NC | 9.6 | 9.7 | 11.2 | NC |  |

*Site 35-001-0029 does not meet siting criteria for PM2.5 but the data is used for the Air Quality Index.

NC = Not Comparable

Table 3:  AQD Continuous PM2.5 Sites

| Continuous PM2.5 AQI sites | AQS # | Current Sampling Frequency | Proposed Sampling Frequency |
| --- | --- | --- | --- |
| Uptown-Zuni | 35-001-0019 | Hourly | Hourly |
| Double Eagle Elementary | 35-001-1012 | - | Hourly |
| North Valley | 35-001-1013 | Hourly | Hourly |
| Taylor Ranch | 35-001-0027 | Hourly | Hourly |
| *South Valley 0029 | 35-001-0029 | Hourly | Hourly |

*Site 35-001-0029 does not meet siting criteria for PM2.5 but the data is used for the Air Quality Index.

PM10

Based on population, 40CFR, Part 58, Table D-4 of Appendix D specifies one-to-two sites as the minimum requirement for low concentration MSAs.

Current – The AQD currently exceeds the requirement by monitoring PM10 at seven sites listed in Table 1.  Four sites have continuous monitors (TEOMs) and four sites use FRM filter-based monitors to measure 24-hour averages.  Two of the filter-based sites have collocated samplers.

Because of terrain, extremely dry climate, and unusual weather patterns, Albuquerque frequently has very different wind conditions in various parts of the city.  Westerly winds are the assumed weather pattern but that is only true during certain seasons of the year.  (refer back to Figure 2)  East canyon winds accelerate down-slope on the Sandia Mountain at speeds up to 65 miles per hour, blasting the NE quadrant of the city before slowing and dispersing.  The valley experiences North-South flow with a diurnal pattern.  The west side of the city has very fine soils and large tracts of native vegetation are being removed for development.  These factors can produce higher PM levels with any wind direction, but particularly in the winter months with winds from the North and West quadrant.

In previous years, most of our AQI days result from high PM10 values.  PM10 data is used to report the AQI, to accurately portray PM in neighborhoods, to enforce our dust control regulation, and to issue high wind advisory or health alerts to protect the population.  (For sensitive populations, extremely high hourly values are a threat, even if the 24 hour standard is not exceeded.)

Future – As a result of reduced grant funding the AQD proposed to reduce the number of monitors in the coming year.  With approval from EPA Region VI, two collocated PM10 monitors (at site 35-001-1014) and one PM10 monitor (at site 35-001-0028) will be discontinued, and a special purpose continuous monitor will be relocated from AIRs 35-001-0019 to AIRs 35-001-1012 where the inlet will be changed to monitor PM2.5.  This proposed network reconfiguration (Table 4) still exceeds the minimum requirement of 40CFR, Part 58 for low concentration MSAs.

In the 2007 Network Review the continuous monitor at AIRs 35-001-0019 was appropriately designated as SLAMS.  Subsequent to the review, EPA gave approval for the addition of an FDMS and redesignation as a Special Purpose Monitor, since that configuration is not an FEM.  This monitor will remain “Special Purpose when relocated to AIRs 35-001-1012 to monitor PM2.5, but for a different reason.

The AQD will also operate a PM10 TEOM near our AQD offices on the west side of the city.  The site is on a high ridge made up of sand and fine siltaceous PM transported from the Rio Puerco in past centuries.  As urban development moves westward, vegetation is being removed.  The unstable surface is exposed, and highly vulnerable to wind-blown PM.  For the time being, this site will not be declared a SLAMS, though it would meet siting criteria.

Table 4.  Proposed Future PM10 Monitoring Configuration

| PM10 Sites | Current Sampling Schedule | 2005 Annual Max Conc. | 2006 Annual Max Conc. | 2007 Annual Max Conc. | 3 year avg. PM10 Conc. | 2005-7 Percent of standard | Proposed Sampling Schedule |
| --- | --- | --- | --- | --- | --- | --- | --- |
| North Valley 1013 | Continuous | 31 | 32 | 26 | 30 | 20% | Continuous |
| Del Norte 0023 | 1/6 | 20 | 20 | 16 | 19 | 12% | 1/6 |
| Singer - 0026 | 1/6 | 37 | 43 | 39 | 40 | 26% | 1/6 |
| Singer - 0026 collocate | 1/6 | 38 | 45 | 43 | 42 | 28% | 1/6 |
| Singer 0026 | Continuous | 37.1 | 43.3 | 39.0 | 39.8 | 27% | Continuous |
| *South Valley 0029 | Continuous | 35 | 39 | 35 | 36 | NC | Continuous |
| West Side (New, special study) | NA |  |  |  |  |  | Continuous |

*Site 35-001-0029 does not meet siting criteria for PM10 but the data is used for the Air Quality Index.

NC = Not Comparable

Sulfur Dioxide (SO2), Nitrogen Oxides (NO2, NOy), and Carbon Monoxide (CO) Under 40 CFR part 58, appendix D4, there are no minimum requirements for the number of SO2, NO2, or CO sites, however, discontinuation of existing sites must be approved by the EPA Regional Administrator.

Sulfur Dioxide (SO2)

Future – The AQD currently does not monitor SO2.  While there are large sources in the state, none are close to Albuquerque and emissions are reduced by dispersion over distance.

The designated NCore site is required to have a high-sensitivity SO2 monitor, which will be purchased when NCore funding is available.

Oxides of Nitrogen (NO2, NOy)

Current – The AQD monitors NO, NO2 and NOx at two sites. One of these (AIRS 35-001-0023) is the proposed NCore location.  In the past NOy monitoring was conducted at a third site on an experimental basis but the activity was discontinued at the end of the project.  That unit is now obsolete and would not meet current requirements.

Future – To work within available funding, the AQD proposes to discontinue one of the existing NOx monitors at 2ZN Southeast Heights (AIRS 35-001-0024).

When EPA funding is made available, a new NOy monitor will be purchased and installed at the NCore site, replacing the existing NOx monitor.

With the new Ozone NAAQS, ozone levels are a pending problem.  The AQD should be acquiring monitoring data to characterize NOx sources and distribution.  Significant Ozone formation occurs in summer months, and studies (by Sonoma Technology) indicate that the area is VOC limited.  Suspected NOx sources include mobile (both on and off road), the Airport, and methane combustion for residential and water heating.

Carbon Monoxide (CO)

Current – The AQD currently operates six (6) CO monitors. Albuquerque/Bernalillo County was declared non-attainment for CO from 1978 – 1996.  While levels have been controlled, the city remains in maintenance status.  In 2006, the AQD requested permission to operate four of the monitors during winter months only (October – March), and the change was approved by EPA Region VI.  The micro-site monitor (AIRS site 35-0010-0028), and the conventional CO monitor at the designated NCore site (AIRs 35-001-0023) will continue to operate year around.

Future: – The AQD proposes to discontinue two CO monitors at AIRS 35-001-1014 and AIRS 35-001-0024.  One of the monitors will be relocated to North Valley (AIRS 35-001-1013) which is close to a major traffic arterial.  Adding this monitor will also give North Valley equivalent instrumentation to South Valley, the two “bookends” of our monitoring area.

The designated NCore site is required to have a high-sensitivity CO monitor, which will be purchased when EPA provides NCore funding.

Non-SLAMS Special Purpose Monitors

PM2.5 Chemical Speciation

Current – CFR Part 58 regulations require the operation of a speciation sampler at approved NCore sites. The Del Norte (AIRS 35-001-0023) site in Albuquerque is the proposed NCore site for the state of New Mexico and has operated a Partisol 2300 speciation sampler since 2002.  Speciation filters are sent to RTI, the EPA national analysis contractor in North Carolina, and data is reported to the AQS.  The AQD also uses this data in local studies to correlate with data from other samplers.

Future: – In the past year the older Partisol 2300 sampler experienced increasing frequency of mechanical and electrical failures.  In the near future it will be replaced by a MetOne SuperSass provided by EPA that will operate on the same 1/6 schedule.  We also anticipate receipt of a URG EC/OC sampler which will work in conjunction with the MetOne.  This Monitor was inadvertently identified as SLAMS in the 2007 report.  The AQD proposes to correct that designation to Special Purpose.

Up to now, 100% funding for the speciation effort came under our CAA 103 PM2.5 grant.  When the CAA 103 funding goes away in March of 2009, the cost is supposed to be picked up by our CAA 105 Base Grant.  However, CAA 105 funding requires local match, and the Base Grants are also shrinking.  Funding uncertainty creates some doubt about the future of speciation sampling.

Visibility

Current – Albuquerque-Bernalillo County does not have any Class I areas.  It exhibits good visibility much of the year but does experience a brown cloud in winter months, particularly during temperature inversions.  For that reason, the AQD currently operates Nephalometers and Aethelometers at three sites (Airs 35-001-0023, AIRs 35-001-1013, and 35-001-0029).  In the 2007 Network Review, the Aethelometers at Del Norte and South Valley, and the Nephalometer at Del Norte were inadvertently identified as SLAMS.  The AQD proposes that the designation on the subject monitors should be “Special Purpose.  Three units (a Nephalometers at South Valley and North Valley, and an Aethelometer at North Valley) have been added since the 2007 Network Review.  The AQD additionally proposes that these monitors should be designate as Special Purpose.

These instruments provide another source of PM2.5 measurements, and the data has been used locally to identify the contribution of residential wood burning smoke to the “brown cloud” during winter months.  Visibility is a local issue related to terrain and low humidity, which cause frequent temperature inversions in winter months.  The local visibility data does not indicate a strong and/or general relationship to regional haze.

Future: – Nephalometer and Aethelometer data has been reported to AQS.  Despite the usefulness of this information, Nephalometers and Aethelometers will have to be discontinued at two sites in March 2009, until increased funding is provided by EPA.  A Nephalometer and Aethelometer will continue to operate at one site, 2ZH North Valley (AIRS 35-001-1013).

Community Scale Monitoring (CSM)

Current – In the past the AQD has participated previously in CSM studies, but there were none in 2005 - 2006.  A CSM study began in September of 2007 and will last for one year, until September of 2008.  Sampling is conducted at 3 locations (Airs 35-001-0023, AIRs 35-001-1013, and 35-001-0029).  Samples are analyzed for Carbonyls (Method TO-11A), Semi-volatiles (Method TO-13A), VOCs (Method TO-15), and heavy metals (by ICP-MS).  Some limited vertical data will also be acquired by instruments mounted on tethered balloons, to support modeling and risk assessment.  (Reference the cover story in the March 2008 “Air Shed.” http://plaza.cabq.gov/QuickPlace/aqd/PageLibrary8725707400726BEA.nsf/h_8C89627BD2E15DE58725707400795A0A/9C5DD0742806949B872574090057FCBC/?OpenDocument.)  Sampling occurs on a 1 in 6 schedule synchronized with all other instruments operating on that cycle, particularly the Speciation monitor.  This allows the maximum use of network data for analysis and comparisons.

Future: – The AQD would like to become part of the national Air Toxics network so these measurement could be continued over many years.  In particular, the TO13 method is the best means to track smoke from residential wood heating and forest fires and controlled burns.  In response to an inquiry, Region VI personnel said they would support our request if a formal proposal was submitted.

Mercury

Future: – The AQD would also like Albuquerque-Bernalillo County to become part of the Mercury Deposition Network, due to transport issues, especially since dry-deposition Mercury monitors are now coming on-line. The state of New Mexico has significant mercury sources (coal-fired EGUs).  The one existing Mercury Deposition Network monitoring site in New Mexico (further from the EGUs than Albuquerque) reports the highest mercury deposition levels in the US.  The vast majority of the State’s waters carry warnings for mercury content in fish, so mercury deposition must be occurring by some mechanism, and dry deposition seems more likely than wet.

Wet and dry-deposition monitors in Albuquerque-Bernalillo County would provide a second data point and clarify whether the high readings are an anomaly of minimal and infrequent precipitation.  Mercury monitoring and extended Air Toxics monitoring would require increased level of EPA funding.

Albuquerque – Bernalillo County Network Changes

Table 5 shows the network before this review.

Table 6 shows the proposed changes for 2008.  Summary of changes:

- One site (35-001-1014) is completely discontinued.

- Three PM10 FRM monitors at two sites (35-001-1014 & 0028) are discontinued.

- One PM10 continuous monitor (35-001-0019) converted to PM2.5 and relocated to new location (35-001-1012).

- Request PM2.5 FRM daily sampling frequency reduced from 1/1 to 1/3 at two sites (35-001-0023 & 0024).

- Two CO monitors (35-001-1014 & 0024) discontinued.  One relocated to new location (35-001-1013).

- Two O3 monitors (35-001-1014 & 0019) discontinued.  One relocated to new site (special study – no AIRS designation).

- One NOx monitor (35-001-0024) discontinued.

- Nephalometer and Aethelometers inadvertently identified as SLAMS in 2007 are correctly designated as Special Purpose.

- Nephalometers and Aethelometers are discontinued at two sites (35-001-0019 and 35-001-1013).

- PM2.5 monitors at 35-001-0023 and 35-001-0029 are designated as Special Purpose to correct an inadvertent error from 2007.

Table 7 shows the reduced network, if EPA accepts this review

Summary

Any comments pertaining to this document should be sent to:

Ken Lienemann

Environmental Health Department - Air Quality Division

Ambient Air Monitoring Supervisor

11850 Sunset Gardens SW

Albuquerque, New Mexico  87121

Or email:  klienemann@cabq.gov

Comments will be compiled, posted on the Air Quality website, and sent to EPA with the proposed Network Review.

After completing its review EPA will either approve the document or return comments.  EPA’s response and the final Network Review document will then be posted on the Air Quality Website.

National Ambient Air Quality Standard

The National Core Monitoring Network

Excluding Native American and Pueblo Lands within the County.

Tapered Element Oscillating Microbalance

Filter Dynamic Measurement System

General Metal Works

NOy are highly reactive oxides of Nitrogen, and are the most likely to be involved in the formation and breakdown of Ozone.

AQCR 152 is in the Albuquerque MSA.  It may be impacted by the Albuquerque airshed, just as we were impacted by the 2000 fires.