## Sheet1
Sustainability |  | Maximum Points Available per Subcategory | Points Earned by Applicant | What to submit with application and at building permit if qualifying for these points
Reuse of Existing Structures. | can only get points in one line item | 30 |  | W/ Application: conceptual site plan with calculation @ Building Permit: confirm on site plan
25% of project footprint utilizes existing structures | 20
50% of project footprint utilizes existing structures | 30
Project includes on-site Electronic Vehicle charging stations. 5% of parking spaces EVSE installed | 15 | 15 |  | W/ Application: narrative statement @ Building Permit: confirm on site plan
On-Site Solar | can only get points in one line item | 50
Roof top is built to be solar-ready with necessary electrical infrastructure and structural support | 20 |  |  | W/ Application: calculation letter by professional electrical engineer @ Building Permit: reconfirmation letter by professional electrical engineer
On-site generated renewable energy meets at least 20% of building's anticipated energy needs. | 50 |  |  | W/ Application: calculation letter by professional electrical engineer @ Building Permit: reconfirmation letter by professional electrical engineer
Integrate Net Zero Water and Energy approaches in the construction and operation of the building. |  | 75
Connect to reuse or non-potable water service lines. ABCWUA non-potable and reuse rate is offered at a 20% discount as compared to potable water. Buildings that already have connections to non-potable water service lines or are mandated to connect to reuse service lines required by ABCWUA are ineligible to receive points. https://www.abcwua.org/customer-service-new-service-applications/ | 15 |  |  | W/ application: Submit letter from ABCWUA confirming availability statement or serviceability letter for non-potable water service lines. @ Building Permit: Contractor to submit for tapping permit (for routine connections when extensions are not required)
Project is designed to maximize passive solar gain in winter while mitigating excessive solar gain in the summer. Design interventions can include window treatment, window over hangs, shutters, building and window orientation, etc. | 10 |  |  | W/ Application: elevations and site plan. Short narrative description of how the building design addresses passive solar. @ Building Permit: confirm on elevations and site plan
Project includes cool surface treatments, such as cool pavements, or cool treatment applied to surface parking/top level of parking garage (if applicable) | 10 |  |  | W/ Application: roof and pavement plan @ Building Permit: confirm roof and pavement plan
Rooftop garden covers at least 15% of rooftop area | 10 |  |  | W/ Application: roof plan @ Building Permit: confirm on roof plan
For redevelopment/retrofits only: install high efficiency WaterSense-labeled fixtures and water efficient equipment: 1.28 GPF toilets, 0.5 gpf urinals, 1.5 gpm aerators, 2.0 gpm showerheads and washing machines with an integrated Water Factor (IWF) of 3.0 or less. Refer to EPA WaterSense at Work: Best Management Practices for Commercial and Institutional Facilities | 10 |  |  | W/application: submit ABCWUA Water Smart CPR application (requires inspection) @Building Permit: approved ABCWUA Water Smart CPR application (requires inspection)
For redevelopment/retrofits only: Transform up to 80% of high water use spray irrigated turf areas with a desert-friendly xeriscape that includes select drought-tolerant plants and climate-ready trees, as well as passive water harvesting and drip irrigation methods. Refer to ABCWUA Xeriscaping: the complete how to guide | 10 |  |  | W/application: submit ABCWUA Water Smart CPR application (requires inspection) @Building Permit: approved ABCWUA Water Smart CPR application (requires inspection)
For redevelopment/retrofits only: Update cooling mechanical systems with control meters to help monitor water use and implement mechanism to improve the tower’s water quality and increase cycles of concentration and/or install a recirculation system that will reuse cooling water instead of discharging it. Refer to EPA WaterSense at Work: Best Management Practices for Commercial and Institutional Facilities | 10 |  |  | W/application: submit ABCWUA Xeriscape rebate application (requires inspection) @Building Permit: approved ABCWUA Xeriscape rebate application (requires inspection)
Sustainable Development Patterns |  | 40
Encourages Alternative Transportation. Two of the following are met: 1. Site Plan includes a dedicated ride share loading space 2. Project includes interior bike storage with one space for 60% of residential units and at least 200 sq. ft. dedicated space for bicycle maintenance 3. Parking ratio is less than 1.2 per unit (multi-family) or 2:1,000 (commercial) 4. Project provides at least one dedicated carshare vehicle per 200 units | 15 |  |  | W/application: site plan with parking calculations and dedicated rideshare loading space; narrative statement regarding bike parking and carshare vehicle @Building Permit: Site verifying parking spaces, floor plan with bike space, agreement with ride share company(or other)
Efficient Unit Sizes. Multifamily projects offer least 50% of units at 600 usable square feet or smaller. | 25 |  |  | W/ application: submit floorplans delineating unit sizes and calculation of unit types by size. @Building Permit: confirm unit sizes.
Subtotal |  | 210 | 0
Economic |  | Maximum Points Available per Subcategory | Points Earned by Applicant | What to submit with application and at building permit if qualifying for these points
Generates Gross Receipts Taxes. Small pockets of retail can be especially impactful. Retail space will trigger occupancy requirements within the first years of completion in the lease agreement. |  |  |  | W/ Application: site plan/floor plans with calculation @ Building Permit: confirm on site plan with calculation
At least 1,000 square feet of interior retail space (for rent to commercial user and not to be used as residential leasing or amenity space) | 15 | 15
Creates missing-middle development. Medium-size infill projects create an exciting texture to the urban core. Small sized projects get a boost in the scoring system and are not expected to provide the same level of amenities as larger project. | can only get points in one line item | 25 |  | Use Building Permit Data Multiplier to Calculate Construction Value
Estimated Project Construction Cost
$8M - $11.99M | 15
$4M- $7.99M | 20
$1M- $3.99M | 25
Adds Density. Projects in MRA are in areas of change. MRTA projects areas should maximize the allowable density to create vibrant urban districts | can only get points in one line item | 35 |  | W/ Application: provide site plan with calculation @ Building Permit: confirm on site plan with calculation
Mixed Use and Residential Projects
15-19.99 dwelling units/acre | 15
20-49.99 dwelling units/acre | 20
50-99.99 dwelling units/acre | 25
100+ dwelling units/acre | 35
Projects without Residential Uses
Floor Area Ratio > 2 | 25
Floor Area Ratio > 3 | 35
Subtotal |  | 75 | 0
Community Benefits |  | Maximum Points Available per Subcategory | Points Earned by Applicant | What to submit with application and at building permit if qualifying for these points
Historic Preservation. Project protects and preserves historic structures, districts, sites, objects or designed landscapes from deterioration or destruction. Building or landscape being preserved must be officially recognized by the City of Albuquerque, State of New Mexico, or listed in the National Register of Historic Places. | 20 | 20 |  | W/ Application: Documentation of historic registration and description of how the asset will be preserved through this project.
Enhanced Streetscape |  | 25 |  | W/ Application: provide site plan/landscape plan @ Building Permit: confirm on site/landscape plan
Building structure or restaurant/bar patio edge is aligned to minimum front setback outlined in IDO zoning requirements. | 10 |  |  | W/ Application: provide site plan/landscape plan @ Building Permit: confirm on site/landscape plan
Include two of the following enhanced streetscape improvements: -Widened sidewalks by at least 2-feet above IDO minimum along arterial streets, -Increased landscape planting requirements (by at least 20%) in public areas -Providing a bus shelter -3 pieces of urban furniture components -Pedestrian-scale lighting along arterial sidewalk -Other streetscape amenity as approved by MRA | 15 |  |  | W/ Application: provide site plan/landscape plan and include description of which streetscape improvements are being met @ Building Permit: confirm on site/landscape plan
Public Space Amenity | can only get points in one line item | 30
On-site public space at least 500 contiguous sq. ft. such as a pocket park, plaza, playground, or performance area. Public space shall be accessible to the public generally 9-5; five days per week. | 20 |  |  | W/ Application: provide site plan and explanation of IDO usable open space minimum requirements. @ Building Permit: confirm on site plan
On-site public space at least 1000 contiguous sq. ft. such as a pocket park, plaza, playground, community garden, or performance area. Public space shall be accessible to the public 9-5; five days per week. | 30 |  |  | W/ Application: provide site plan and explanation of IDO usable open space minimum requirements. @ Building Permit: confirm on site plan
Culture & Art. Project includes a mural that is at least 150 sq. ft or other significant artistic feature such a large sculpture, artistic lighting, etc. Art must be located within prominent public view. | 15 | 15 |  | W/ Application: provide site plan @ Building Permit: confirm on site plan
Rooftop or Elevated Deck. Project includes an outdoor deck on the second floor or higher. Deck must be at least 500sf. Deck must be available for use by public patrons such as hotel guests/restaurant or bar patrons/office users (dependent on building type). Rooftop decks available exclusive for residential users does not qualify. | 10 | 10 |  | W/ Application: provide site plan/landscape plan @ Building Permit: confirm on site/landscape plan
Affordable Housing. At least 60% of units are affordable to households <80% AMI & project is being funded and monitored for compliance by governmental entity other than MRA. | 40 | 40 |  | Application: documentation from MFA, FCS that project is affordable
Subtotal |  | 140 | 0
Diverse/Local Team |  | Maximum Points Available per Subcategory | Points Earned by Applicant | What to submit with application and at building permit if qualifying for these points
Diverse and/or Local Team Structures |  | 50
Legal applicant entity is a minority, LGBTQ+, veteran, or women-owned business | 15 |  |  | Application: Applicable third party certification
Legal applicant entity is a local business | 10 |  |  | Application: W-9 self-certification; business license
General Contractor is a minority, LGBTQ+, veteran, or women-owned business | 15 |  |  | Application: Applicable third party certification
General Contractor is a local businesses | 10 |  |  | Application: W-9 self-certification; business license
Subtotal |  | 50 | 0
| Minimum Required | Total Points Available | Total Points Earned
TOTAL POINTS | 100 | 475 | 0